## Slide 1
Four Mile Run Stormwater Improvement Project
15 September 2020 Project Update

## Slide 2: Welcome and Introductions
Alex Sciulli, P.E. Chief of Program Management
Jim Turner, P.E.
Project Manager
Tony Igwe, P.E.
Wade Trim – Project Manager
Kari Mackenbach, CFM, ENV SP ms consultants – Hydraulic modeling
Mallory Griffin, P.E. JMT – Stormwater Pipeline Design
Tim Nuttle, PhD
CEC – Panther Hollow Lake and Junction Hollow Design
Pat Sullivan, P.E. CEC – Panther Hollow Lake and Junction Hollow Design

## Slide 3: Today’s Agenda 6:30pm – 8:00pm
1: PWSA’s Mission and this Project’s Goals 2: Four Mile Run Stormwater Improvements
3: Enhanced Modeling and Flood Mitigation Benefits 4: Four Mile Run Connection to Monongahela River
5: Project Schedule and Costs 6: Questions and Answers
3

## Slide 4: Submitting Questions Using Zoom
During Presentation
Participants will be muted
To ask a question use the chat box below
We will pause between sections to answer clarifying questions about information presented on slides
Click the Chat Icon
Located bottom of screen
Looks like cartoon bubble
Type question in dialogue box; press enter to send
All attendees will receive your question
Raise hand if need to interject
When presentation ends
We will respond to questions individually
We will unmute microphones to enable verbal Q&A
For more information or to ask a question after the meeting, please visit www.pgh2o.com/4mr
4

## Slide 5
PWSA Mission and this Project's Goals
1

## Slide 6: PWSA’s Mission
ORIGINAL MISSION:
PWSA’s mission was originally limited to providing drinking water to Pittsburgh’s homes and businesses, and to providing conveyance of wastewater through the sewer system to ALCOSAN’s treatment facilities.
TODAY:
Successful stormwater management requires participation from government, residents, businesses, and non-profits.
As the problem has grown in scale and in intensity, PWSA identified a need and has taken the initiative to address the impacts of stormwater.
PWSA’s 2016 Green First Plan identified projects and programs, including the Four Mile Run project, that can have a positive impact.
6
6

## Slide 7: “Creating healthy, flood-prepared neighborhoods”
PROJECT GOALS AND BENEFITS:
Reduce Combined Sewer Overflows
Reduce Flood Risk and Basement Backups
Manage Sediment
Leverage Resources for Regional Benefit
7
7

## Slide 8
Four Mile Run Stormwater Improvements
2

## Slide 9: Panther Hollow Lake – Plan of Features
9
Trail
Forebay Pond and Pretreatment Wetland
Lake Dredging
Jetty

## Slide 10: Panther Hollow Lake – Embankment Trail
10
13 ft. Wide Trail
Jetty

## Slide 11: Panther Hollow Lake – Storm Control
11
Principal Spillway Pipe
Emergency Spillway

## Slide 12: Junction Hollow-Across RR Tracks from PHL
TOE WOOD WITH LIVE BRUSH LAYERING
LOG RIFFLE
12

## Slide 13: Junction Hollow-South of Allies Bridge
BOULDER STEP POOL
ROOT WAD
13

## Slide 14: Junction Hollow-at the Soccer Field
LOG VANE, ROCK J-HOOK AND ROOT WAD
14

## Slide 15
Enhanced Modeling and Flood Mitigation Benefits
3

## Slide 16
Four Mile Run Sub-Watersheds
16
Notes: All three of these subwatersheds contribute to the Big Jims flooding.

## Slide 17
Points of Interest
South Bowl flooding - (near Big Jim’s)
North Bowl flooding-Boundary Street
17
Notes: Dual Drainage Model afforded us the best look at how and why areas within 4 Mile were flooding. There are three areas of concern: South Bowl, North Bowl and the neighborhood directly impacted by the Naylor/Saline overland flooding.

## Slide 18
Dual Drainage Model Development Process
18
Notes: Best Available Information and new technology allowed us to use a Dual Drainage Model. I will explain what the dual drainage model does as far as a benefit to our process.

## Slide 19
Dual Drainage Animation
19
Notes: Best Available Information and new technology allowed us to use a Dual Drainage Model. I will explain what the dual drainage model does as far as a benefit to our process.

## Slide 20
Mon-Oakland Mobility Trail Stormwater Project
20
Notes: Best Available Information and new technology allowed us to use a Dual Drainage Model. I will explain what the dual drainage model does as far as a benefit to our process.

## Slide 21
4MR Flood Mitigation Results
No change in the % reduction of structures at risk after incorporating the Mon-Oakland Mobility Corridor project due to incorporation of stormwater best management practices within the project
21
Notes: Best Available Information and new technology allowed us to use a Dual Drainage Model. I will explain what the dual drainage model does as far as a benefit to our process.

## Slide 22
Four Mile Run Connection to Monongahela River
4

## Slide 23: Stormwater Pipeline Project Limits
Monongahela River
Map Legend
Existing Combined Sewer
Proposed Storm System
Schenley
Park
I-376
Saline Street
2nd Avenue
Existing Large
Sewer Trunklines
Greenfield Avenue
New 36-Inch
Storm Pipe at
New Stream Outlet
New 60-Inch
Storm Outfall
ALMONO
Existing M29
Sewer Outfall
Big Jim’s
Challenges: - topography - utilities - railroads (CSX & AVRR) - highways - bridges
N

## Slide 24: New Storm Profile Monongahela River to Big Jim's on Saline St.
Saline Street
Low Lying
Area
Blair
Street
Almono
Monongahela
River
Big
JIm's
Saline
Street
Alexis Street
Greenfield Ave.
Overhead
Railroad
Second Avenue
Railroad
780
770
760
750
100 Yr. Flood Elev. 732.0
Ordinary High Water Elev. 717.0
Normal Pool Elev. 710.0
740
730
720
710
700
780
770
760
750
740
730
720
710
700
Overhead
Parking
Ex. 168" Sewer
Ex. 144" Sewer
Ex. 84" Sewer
Ex. 108" Sewer

## Slide 25: Major Utility Challenges Saline Street / Alexis Street / Boundary Street
N
Map Legend
Proposed Storm
Existing Sewer
Existing Water
Existing Electric
Existing Gas
Frazier Street
I-376 WB
Saline Street
Boundary Street
Alexis Street
Big Jim’s
Acorn St.
Four Mile Run Park
Four Mile Run Road
Ex. 144" Sewer
Ex. 50" Water
Ex. 84" Sewer
I-376 EB

## Slide 26: Disconnection of I-376– Boundary Street
Major 345 kV Electric Lines MUST be Avoided
20” Water Line MUST Stay in Service
Existing Large Sewers Between 3-12’ Depth
N
Existing I-376 Drainage
Proposed Storm-Only System

## Slide 27
Project Schedule and Costs
5

## Slide 28
Project Schedule
28

## Slide 29: Project Costs and Funding
Early Action Projects Design & Construction Costs - Bridle Trail and Overlook Drive: $537,000
Project Costs: ~$28M - Design, easement, permitting, and modeling fees: ~$7M - Stream and Panther Hollow Lake and Dam: ~$1.5M
- 50-inch water relocation: ~$6M
- Stormwater pipeline: $10M
- Construction Management and Inspection: ~$2.5M
- Future maintenance costs for operation of system: $500,000 - $1M

## Slide 30
Questions and Answers
6

## Slide 31: Facilitating Today’s Q&A
Click the Chat Icon to ask a question
We will answer questions in the chat first
Located bottom of screen
Looks like cartoon bubble
Type question in dialogue box; press enter to send
All attendees and facilitators will see your question
Open Q&A Discussion
We will call on those with questions
Everyone will have a chance to speak
Speak politely; one at a time
You may continue to use chat feature to ask questions
For more information or to ask a question after the meeting, please visit www.pgh2o.com/4mr
32